## Sheet1
file_name | Doc Type | LV Relevance | LV Systems Present | LV Table of Contents | LV Quantities Visible | Summary | job_slug | job_name | job_path | path_norm | basename
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Addendum - 01 PLMS Addition Renovation SEALED.pdf | Addendum | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion/burglar, intercom, paging, fiber, wireless rapid emergency response system | Div 27 15 00 Communications (p. 9), Div 28 Electronic Safety and Security (pp. 9-10), Technology Revision Narrative (p. 59), Sheet E301 (p. 81), Sheet E302 (p. 82), Sheet E303 (p. 83), Sheet E304 (p. 84), Sheet T201 (p. 88), Sheet T202 (p. 89), Sheet T203 (p. 90) | WAPs (added/deleted/shifted on sheets T201-T203), Data drops (1D/2D), IFP.S1 drops, Wireless Emergency Response receivers (T08), Intercom call buttons (E24) | Addendum 01 revises wireless access point locations across technology sheets T201-T203 and includes the full project Table of Contents detailing Division 27 and 28 specifications. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Addendum - 01 PLMS Addition Renovation SEALED.pdf | Addendum - 01 PLMS Addition Renovation SEALED.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Exhibit A Purchase Order.pdf | Contract | High | structured cabling, voice/data, WAPs, CCTV, access control, intrusion, AV/paging | Submittal and Shop Drawing Requirements (p. 1), Change Order Procedures (p. 1), Exhibit B: List of Drawings and Specifications (p. 2) |  | General contract exhibit outlining administrative requirements for the project, including a 14-day submittal deadline and standard payment procedures applicable to the low-voltage subcontractor. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Exhibit A Purchase Order.pdf | Contract - Straub Exhibit A Purchase Order.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Exhibit G Lien Waivers.pdf | Contract | Low |  |  |  | Exhibit G from Straub Construction detailing mandatory lien waiver procedures and joint payment options for all project subcontractors. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Exhibit G Lien Waivers.pdf | Contract - Straub Exhibit G Lien Waivers.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Master Agreement.pdf | Contract | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion/burglar, AV/paging | Owner Contract Documents (p. 1), Flow Down Provision (p. 3), Identification of Master Agreement Documents (p. 4), Art. 1 The Subcontract Documents (p. 7), Art. 4 Subcontractor Scope (p. 10), Art. 8 Description of Work (p. 18), Art. 12 Insurance and Bonds (p. 23), Art. 15 Enumeration of Subcontract Documents (p. 27) |  | This is a Master Subcontract Agreement from Straub Construction governing future work orders, including standard flow-down provisions and trade responsibilities applicable to low-voltage subcontractors. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Master Agreement.pdf | Contract - Straub Master Agreement.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Purchase Order Draft.pdf | Contract | Low |  |  |  | Standard draft Purchase Order shell from Straub Construction for the Pleasant Lea Middle School project, referencing a separate Exhibit A for specific scope items. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Purchase Order Draft.pdf | Contract - Straub Purchase Order Draft.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Sample Insurance Certificate.pdf | Contract |  |  |  |  | Sample Certificate of Insurance outlining the minimum liability and workers' compensation coverage required by the General Contractor. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Sample Insurance Certificate.pdf | Contract - Straub Sample Insurance Certificate.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Subcontract Work Order.pdf | Contract | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion/burglar, AV/paging | Subcontract Work Order (p. 1) |  | Standard subcontract work order form from Straub Construction that establishes the legal framework and incorporates the low-voltage scope and drawing list for the project. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Contract - Straub Subcontract Work Order.pdf | Contract - Straub Subcontract Work Order.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 1 (pp 1-35).pdf | Plans | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intercom, paging, fire alarm, wireless panic buttons | Sheet Index (p. 1) referencing E301-E304 Systems Plans, E700 Electrical Schedules, DT01-DT03 Technology Demolition, T200 Site Technology, T201-T207 Technology Floor Plans, T300 Technology Enlarged Plans, T301 Technology Equipment Elevations, T400 Technology Details, T500 Technology Riser Diagrams, T600 Technology Schedules, T601 Technology Notes/Symbols, A600 Door Schedule, and A150-A153 Reflected Ceiling Plans |  | This document is Part 1 of a construction plan set for a middle school expansion, containing a comprehensive sheet index that identifies extensive Technology (Division 27) and Security (Division 28) scope including site fiber, paging, and wireless panic systems. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 1 (pp 1-35).pdf | Plans - CONSTRUCTION SET - Part 1 (pp 1-35).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 2 (pp 36-105).pdf | Plans | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, AV/paging, fire alarm | Sheet C630 (p. 2), Sheet A001 (p. 25), Sheet A002 (p. 26), Sheet A004 (p. 28), Sheet A005 (p. 29), Sheet A007 (p. 31), Sheet A030 (p. 35) |  | This architectural and structural plan set includes a trade responsibility matrix for low-voltage systems and identifies the specific locations and construction phasing for the MDF and IDF rooms. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 2 (pp 36-105).pdf | Plans - CONSTRUCTION SET - Part 2 (pp 36-105).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 3 (pp 106-140).pdf | Plans | High | structured cabling, wireless/WAP, AV/paging, intercom | Sheet A103 Lower Floor Plan - Area A (p. 14), Sheet A104 Lower Floor Plan - Area B (p. 15), Sheet A105 Main Floor Plan - Area B (p. 16), Sheet A150 Lower Reflected Ceiling Plan - Area A (p. 28), Sheet A151 Lower Reflected Ceiling Plan - Area B (p. 29), Sheet A152 Main Reflected Ceiling Plan - Area B (p. 30), Sheet A153 Upper Reflected Ceiling Plan - Area B (p. 31), Sheet A300 Building Sections (p. 35) |  | Architectural floor plans and reflected ceiling plans providing room layouts and specific keynotes for mounting Interactive Flat Panels (IFPs), TVs, and ceiling-mounted devices. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 3 (pp 106-140).pdf | Plans - CONSTRUCTION SET - Part 3 (pp 106-140).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 4 (pp 141-180).pdf | Plans | Medium | structured cabling, voice/data, access control, AV/paging, intercom | Sheet A301 (p. 1), Sheet A600 (p. 26), Sheet A702 (p. 32) | Typical classroom Interactive Flat Panel (IFP), Intercom (IC), and data/phone drops shown in elevations. | Architectural building sections and classroom elevations detailing rough-in and mounting locations for Interactive Flat Panels, intercoms, and access control requirements noted in the door schedule. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 4 (pp 141-180).pdf | Plans - CONSTRUCTION SET - Part 4 (pp 141-180).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 5 (pp 181-240).pdf | Plans | High | structured cabling, wireless/WAP, access control, intercom, AV, clock system, fire alarm | Sheet M102 (p. 187), Sheet M103 (p. 188), Sheet P102 (p. 207), Sheet DE101 Card Access Demo (p. 220), Sheet E102 IFP Rough-ins (p. 226), Sheet E301 Lower Floor Systems (p. 234), Sheet E302 Lower Floor Systems (p. 235), Sheet E303 Main Floor Systems (p. 236), Sheet E304 Upper Floor Systems (p. 237), Sheet E500 Card Access Details (p. 240) | MDF: 1 (B104), IDFs: 2 (D115, B227), Intercom: CareHawk CH-1000 specified, IFP Rough-ins: Classroom typical | Construction plans (Part 5) containing Mechanical, Plumbing, and Electrical disciplines; notable for E30x series 'Systems' sheets showing intercom (CareHawk), wireless clocks, and detailed rough-in requirements for access control systems. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 5 (pp 181-240).pdf | Plans - CONSTRUCTION SET - Part 5 (pp 181-240).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 6 (pp 241-269).pdf | Plans | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion, intercom/paging, fiber backbone, interactive flat panels (IFP), Centegix rapid emergency response system | Sheet E600 (p. 1), Sheet E700 Responsibility Matrix (p. 3), Sheet DT01 Technology Demolition (p. 4), Sheet DT02 Technology Demolition (p. 5), Sheet DT03 Technology Demolition (p. 6), Sheet T200 Site Technology (p. 7), Sheet T201 Technology Area A (p. 8), Sheet T202 Technology Area B (p. 9), Sheet T203 Technology Area B (p. 10), Sheet T204 Technology Area B Office (p. 11), Sheet T205 Technology Area B Common (p. 12), Sheet T206 Technology Area C (p. 13), Sheet T207 Technology Upper Floor (p. 14), Sheet T300 Technology Enlarged Plan (p. 15), Sheet T301 Technology Eq Elevations (p. 16), Sheet T400 Technology Details (p. 17), Sheet T500 Fiber Riser Diagrams (p. 18), Sheet T600 Technology Schedules (p. 19), Sheet T601 Technology Gen Notes/Symbols (p. 20), Sheet C910 Site Fiber Pathway (p. 22) | Wireless Access Points: 52 (OFOI), Interactive Flat Panels (IFP): 48, Mobile Trailers: 8, Fiber strands: 48-strand OM3 backbone | This technology construction set details the infrastructure for Pleasant Lea Middle School, including site fiber for 8 mobile trailers, technology demolition, and floor plans for cabling and security systems. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET - Part 6 (pp 241-269).pdf | Plans - CONSTRUCTION SET - Part 6 (pp 241-269).pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET.pdf | Plans | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion, AV/paging, fiber backbone, intercom, wireless clocks, Centegix panic buttons | Sheet Index (p. 1), Utility Plan Area A/C - Fiber Optics (pp. 29, 31), Gen Notes A001 - LV Responsibility (p. 95), Types & Legends A002 - IFP/TV symbols (p. 96), Reflected Ceiling Plans Area A/B/C (pp. 133-136), Door Schedule A600 (p. 166), Sheet DE101 Note DE06 - Card Reader Removal (p. 220), Sheet E700 Responsibility Matrix (p. 243), Tech Demolition DT01-DT03 (pp. 244-246), Sheet T200 Site Technology (p. 247), Tech Floor Plans T201-T207 (pp. 248-254), Tech Enlarged Plans T300 (p. 255), Tech Elevations T301 (p. 256), Tech Details T400 (p. 257), Sheet T500 Fiber Riser (p. 258), Sheet T600 Technology Schedules (p. 259), Sheet T601 Tech General Notes & Symbols (p. 260) | Fiber strands: 48-strand OM3, IFP displays: 52, Classroom trailers: 8 | Full design development and construction plan set for Pleasant Lea Middle School including comprehensive T-series technology drawings, site fiber backbone to temporary trailers, and security/AV responsibility matrices. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Plans - CONSTRUCTION SET.pdf | Plans - CONSTRUCTION SET.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/RFP - Data & Telecommunications.pdf | RFP | High | structured cabling, voice/data, wireless/WAP, elevator phones | Project Information (p. 1), Trade-Specific Instructions (p. 2), Responsibility Matrix reference (p. 2), Compliance Requirements: Prevailing Wage / Background Checks (p. 2) |  | Request for proposal for the data and telecommunications trade package covering a 99,500 sq. ft. middle school addition and renovation including grade-level collaboration hubs. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/RFP - Data & Telecommunications.pdf | RFP - Data & Telecommunications.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Reference - PLMS Pre-Bid Sign-In 03-24-2026.pdf | Reference | Low | structured cabling, AV, paging | Technology Consultant Brian Day (p. 1), Sound Products TSI Sign-in (p. 5) |  | Pre-bid meeting sign-in sheet for Pleasant Lea Middle School listing project stakeholders, the technology consultant (Lankford Fendler), and potential technology bidder Sound Products TSI. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Reference - PLMS Pre-Bid Sign-In 03-24-2026.pdf | Reference - PLMS Pre-Bid Sign-In 03-24-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Reports - PLMS Geotech Report.pdf | Geotech |  |  |  |  | This document provides geotechnical soil analysis and foundation recommendations for the building addition and contains no low-voltage scope. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Reports - PLMS Geotech Report.pdf | Reports - PLMS Geotech Report.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Specs - PLMS Project Manual.pdf | Specs | High | structured cabling, voice/data, wireless/WAP, CCTV/video surveillance, access control, intrusion/burglar, AV/paging, fire alarm, intercom, time clocks, motorized roller shades, emergency response, fiber optic | Div 27 15 00 Communications Equipment (p. 11), Div 28 00 10 Electronic Safety And Security (p. 11), Div 28 20 00 Video Surveillance (p. 12), Div 28 31 00 Intrusion Detection (p. 12), Section 004336 Subcontractor List (p. 30), Section 011000 Description of Alterations (p. 122), Section 019113 Commissioning (p. 209), Section 024100 LV Salvage (p. 281), Section 061000 Comms Mounting Boards (p. 363), Section 061000 TV Backing (p. 366), Section 078400 Cable Firestopping (p. 482), Section 087100 Door Hardware (pp. 549-586), Section 122400 Motorized Roller Shades (pp. 695-704), Section 142400 Elevator Security (pp. 717-721), Section 260519 Fire-Alarm Cable (p. 1050), Section 260523 Control-Voltage Cables (pp. 1053-1062), Section 271500 Comms Cabling (pp. 1189-1202) | Card Readers: 20, Wall Magnets: 19, Door Contacts: 30, Power Transfers: 30, Fiber strands: 24 (OM3) | Comprehensive Project Manual for Pleasant Lea Middle School covering extensive Division 27/28 scope including structured cabling, access control, surveillance, and networked shade controls. | pleasant_lea | Pleasant Lea Middle School | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85% | 5-Jobs/2. In Progress - 5/2026-04-24 - Pleasant Lea Middle School - Lee's Summit, MO - 85%/Intake/Specs - PLMS Project Manual.pdf | Specs - PLMS Project Manual.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90%/Intake/Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.03.pdf | Plans | High | Structured Cabling, WAP, CCTV, Access Control, AV, Satellite TV, HVAC Controls | Sheet G-1.1 (p. 2), Sheet G-1.2 (p. 3), Sheet A-1.0 (p. 6), Sheet A-1.1 (p. 7), Sheet A-2.0 (p. 9), Sheet A-5.2 (p. 15), Sheet A-5.5 (p. 18), Sheet A-5.6 (p. 19) | 7 Security Globes, 1 Security Dome, 4 WAPs (allowance per density), 2 48-inch TVs, 1 CradlePoint, 8 Cat6 (Cash Wrap), 1 Satellite Dish (SATV), 4 Honeywell VisionPro 8000 Thermostats, 4 Remote Sensors | Full retail fit-out for Shoe Dept. Encore featuring structured cabling for POS and WAPs, security deterrent globes, CCTV, AV display mounting, and networked HVAC controls. | shoe_encore | Shoe Encore | 5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90% | 5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90%/Intake/Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.03.pdf | Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.03.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90%/Intake/Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.25 REVISED.pdf | Plans | High | Structured Cabling (Cat6), Data Drops, WAPs, Security Domes/Globes, TV/Display Drops, Satellite (SATV), Access Control (SB), Intrusion, POS Cabling | Sheet G-1.1 (p. 2), Sheet G-1.2 (p. 3), Sheet G-1.3 (p. 4), Sheet A-1.0 (p. 6), Sheet A-1.1 (p. 7), Sheet A-2.0 (p. 9), Sheet A-5.1 (p. 13), Sheet A-5.2 (p. 15), Sheet A-5.6 (p. 19) | 7 Security Globes, 1 Mirrored Ceiling Tile w/ Dome, 8 Cat6 per Cash Wrap, 4 Thermostats, 4 Sensors, 3 TVs, 1 CradlePoint shelf | Full architectural plan set for a retail tenant improvement including structured cabling for POS, security deterrent globes/domes, manager's IT shelf, and TV display systems. | shoe_encore | Shoe Encore | 5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90% | 5-Jobs/2. In Progress - 5/2026-03-31 - Shoe Encore - Bridgeton, MO - 90%/Intake/Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.25 REVISED.pdf | Plans - SDE 1973 BRIDGETON MO_BID SET_2026.03.25 REVISED.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Geotech - Geotechnical Exploration Report.pdf | Geotech | Low | Utility trenching, site pathways | Section 4.2.3 (p. 15), Section 4.4.4 (p. 17), Section 4.5 (p. 18), Section 5.1 (p. 25) |  | Geotechnical exploration report providing soil classification and compaction requirements for utility trenching and the abandonment of existing site utilities. | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Geotech - Geotechnical Exploration Report.pdf | Geotech - Geotechnical Exploration Report.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Plans - Drawing Set - Issue for BID 4-6-2026.pdf | Plans | High | Structured cabling, voice/data, POS cabling, background music (BGM), golf simulator networking, display/TV drops, digital signage, headset systems, beverage data conduit. | Sheet E001 (p. 158), Sheet E101 (p. 160), Sheet E201 (p. 163), Sheet E203 (p. 165), Sheet E501 (p. 173), Sheet E502 (p. 174), Sheet E503 (p. 175), Sheet QF301 (p. 182), Sheet QF302 (p. 183) | Category 5e/6 drops for ~20 TV locations, 13+ background music system cables, 8+ POS/printer stations, dedicated golf simulator network, and 4'x6' communications backboard with equipment rack. | This drawing set includes dedicated communication sheets (E501-E503) and pervasive low-voltage scope integrated into electrical and foodservice plans, specifically for POS, AV distribution, and specialized restaurant systems. | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Plans - Drawing Set - Issue for BID 4-6-2026.pdf | Plans - Drawing Set - Issue for BID 4-6-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Plans - Site Disturbance Plans - Issue for Bid 4-6-2026.pdf | Plans | Medium | Fiber Optic, ISP Feed | Sheet C100 (p. 1), Sheet C300 (p. 3) |  | Site disturbance and infrastructure plans identifying existing underground fiber optic pathways and providing contact information for telecom service providers (AT&T, Spectrum, and Google Fiber). | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Plans - Site Disturbance Plans - Issue for Bid 4-6-2026.pdf | Plans - Site Disturbance Plans - Issue for Bid 4-6-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/RFP - Interior Signage.pdf | RFP | High | Audio/Visual, Security, POS, Fire Alarm | Page 2 (p. 2) |  | RFP for interior signage that defines project-wide LV scope boundaries, specifically noting owner-furnished AV, Security, and POS wiring with contractor-provided pathways. | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/RFP - Interior Signage.pdf | RFP - Interior Signage.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Reference - Five Four Liberty Interior Signage.pdf | RFP | High | Audio/Visual, Security, POS, Fire Alarm | RFP Page 2 (p. 2) |  | The RFP defines scope boundaries by specifying owner-furnished AV and security, contractor-provided POS conduit/pull strings, and a contractor-managed design-build fire alarm system. | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Reference - Five Four Liberty Interior Signage.pdf | Reference - Five Four Liberty Interior Signage.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Specs - Five Four Specifications - Issue for BID.pdf | Specs | High | Audio/Visual, Security, POS Cabling, Data Networking, Telecommunications | Project Directory (p. 6), Div 01 11 00 (pp. 52-54), Div 01 50 00 (p. 84), Div 08 71 11 (p. 296) | 1 Data Closet lock set | Project manual for the Five Four Restaurant TI specifying that the Owner furnishes AV, Security, and POS gear/cabling while the Contractor provides all necessary conduit pathways and coordination. | five_four | Five Four Restaurant & Drafthouse - Liberty | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90% | 5-Jobs/2. In Progress - 5/2026-05-11 - Five Four Restaurant & Drafthouse - Liberty - Kansas City, MO - 90%/Intake/Specs - Five Four Specifications - Issue for BID.pdf | Specs - Five Four Specifications - Issue for BID.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Geotech - Stock Associates MT15963.pdf | Geotech |  |  |  |  | This geotechnical exploration report provides subsurface soil analysis and foundation design recommendations for the dual-brand hotel project but contains no low-voltage or security scope content. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Geotech - Stock Associates MT15963.pdf | Geotech - Stock Associates MT15963.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | Medium | CATV, Data | Sheet G001 (p. 3) |  | General notes identify CATV and data design as delegated responsibilities for the contractor. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | Medium | Telephone, TV | Sheet A324 (p. 131) |  | Architectural details specify the mounting heights and box configurations for guestroom telephone and television outlets. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | Medium | Access Control, Intercom | Sheet A335 (p. 142) | 1 Card Reader, 1 Intercom | Access control card reader and intercom devices are required at the interior vestibule door for after-hours guest entry. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | Structured Cabling, Cat6, Fiber, Data Rack, Access Control, Intercom | Sheet E206.2 (p. 218), Sheet E208.1 (p. 223) | 1 Data Rack, 1 Fiber Patch Panel, 1 Ethernet Patch Panel | Electrical floor plans detail the build-out of the PBX room with a data rack and specify cabling for telephones, intercoms, and card readers. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | Elevator Telephone, Voice/Data | Sheet E300 (p. 229) |  | The electrical contractor is tasked with providing data cabling for two-way elevator communication systems. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | Structured Cabling, Data Drops, Access Control, CATV | Sheet E301 (p. 230), Sheet E302 (p. 231), Sheet E303 (p. 232), Sheet E304 (p. 233), Sheet E305 (p. 234), Sheet E306 (p. 235), Sheet E307 (p. 236) | 170 Guestroom data drops | Detailed guestroom plans specify requirements for desk data drops, TV/cable outlets, and card readers for lockout suite doors across 170 units. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | Structured Cabling, Racks, Grounding | Sheet E601 (p. 243) |  | Technical installation details are provided for cable management, data racks, and grounding bus bars. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | Structured Cabling, Voice/Data | Sheet E602 (p. 244) |  | Standard mounting details for multi-outlet jacks containing RJ-45 data and RJ-11 telephone ports. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Specs | High | Voice/Data, Raceway | Section 16A 6-3 (p. 245) |  | Electrical specifications for the incoming telephone service, including backboards, raceways, and outlet boxes. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | High | CCTV, AV/Paging | Sheet ID121 (p. 294) |  | Interior design reflected ceiling plans include symbols and locations for security cameras and flush-mounted PA speakers. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans | Medium | Voice/Data, AV | Sheet ID501A (p. 312), Sheet ID501B (p. 313) | 2 Data Ports | Reception desk millwork details require coordination with the low-voltage consultant for cable grommets and terminal data ports for computer monitors. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - CD Set Compiled 02-20-2026.pdf | Plans - CD Set Compiled 02-20-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - Civil Site Improvement V3.pdf | Plans | High | Structured Cabling, EV Charger Data, Telecom Utility Path, CATV Utility Path | Sheet C1.0 (p. 1), Sheet C2.2 (p. 9), Sheet C5.0 (p. 22), Sheet C5.1 (p. 23), Sheet C6.1 (p. 25) | 4 EV charging stalls | Civil site improvement plans showing underground telecom and CATV utility paths, property line demarcs, and locations for four networked EV charging stations requiring data integration. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - Civil Site Improvement V3.pdf | Plans - Civil Site Improvement V3.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - Site Photometrics PH1.pdf | Plans |  |  |  |  | Site photometrics plan detailing exterior lighting levels and EV charging stall locations; lighting and EV data are excluded from current scope. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Plans - Site Photometrics PH1.pdf | Plans - Site Photometrics PH1.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/RFP - Electrical A Eilers 04-17-2026.pdf | RFP | High | Structured Cabling, Voice/Data, WAPs, CCTV, Access Control, Intrusion, AV, Paging |  |  | BuildingConnected Electrical trade invitation for a 110,510 sq. ft. dual-brand Marriott hotel project (Springhill Suites + TownePlace Suites) in O'Fallon, MO. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/RFP - Electrical A Eilers 04-17-2026.pdf | RFP - Electrical A Eilers 04-17-2026.pdf
~sFIOKwgObWS0Fa1Kk9VM8qBJBNm1/5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Specs - FFE Spec Book Baskervill 02-16-2026.pdf | Specs | High | AV, TV/MATV, Structured Cabling, WiFi, Lit Signage | Preamble (p. 12), Flatwire Cable Pathways (p. 177), CSG-403 (p. 252), CSG-404 (p. 258), CSG-502 (p. 304), CSG-507 (p. 323), CSG-508 (p. 329), EQU-400 (pp. 396-402), EQU-400.1 (pp. 403-404), LTG-200 (pp. 489-492), UPH-408 (p. 613), UPH-409 (p. 623), UPH-506 (p. 684), UPH-514 (p. 712), Mecho/7 Datasheet (pp. 836, 844) | 7 55-inch smart TVs, 7 TV wall mounts, 16 furniture cable grommets, 25+ integrated Legrand power/USB outlet packs | FF&E specification book for a Marriott hotel project featuring networked smart TVs, integrated furniture USB/power charging ports, and illuminated LED signage. | springhill | Springhill Suites + TownePlace Suites - O'Fallon | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72% | 5-Jobs/2. In Progress - 5/2026-05-12 - Springhill Suites and Towneplace Suites - O'Fallon, MO - 72%/Intake/Specs - FFE Spec Book Baskervill 02-16-2026.pdf | Specs - FFE Spec Book Baskervill 02-16-2026.pdf