Site-Specific Safety Plan (SSSP)

{{PROJECT_NAME}}  —  {{PROJECT_ADDRESS}}

1.  Project Information

| Field | Detail |
| --- | --- |
| Project | {{PROJECT_NAME}} |
| Location | {{PROJECT_ADDRESS}} |
| General Contractor | {{GC_NAME}} |
| GCC Scope | Division 27 (Low-Voltage Communications) / Division 28 (Electronic Safety & Security) |
| Start Date | {{START_DATE}} |
| Estimated Duration | {{DURATION}} |
| GCC Site Supervisor | Nathan Morris, Director of Operations |
| GCC Safety Contact | Kaitlyn Morris, CEO — (636) 224-8192 |

2.  Emergency Contacts

| Contact | Name | Phone |
| --- | --- | --- |
| GCC Safety Officer | Kaitlyn Morris | (636) 224-8192 |
| GCC Field Supervisor | Nathan Morris | (636) 224-8192 |
| Emergency Services | 911 | 911 |
| Nearest Hospital | {{HOSPITAL_NAME}} | {{HOSPITAL_PHONE}} |
| Poison Control | National | 1-800-222-1222 |

3.  Scope of Work

We perform Division 27/28 low-voltage installation including:

Structured cabling (Cat6A plenum) — horizontal and backbone

Fiber optic cabling (OM3 / OS2) — splicing, termination, testing

Telecom room buildout — racks, cable management, grounding, labeling

Cable pathway installation — cable tray, J-hooks, ladder rack

Security device mounting — access control readers, cameras, contacts

WAP and AV device mounting

Fluke certification testing on all installed links

4.  Hazard Assessment

We have identified the following hazards for our scope:

Fall hazards — Working from ladders, lifts, and above-ceiling areas

Electrical hazards — Proximity to live circuits during cable routing

Struck-by hazards — Overhead work, falling tools / materials

Ergonomic hazards — Repetitive cable pulling, overhead termination work

Cut / puncture hazards — Cable stripping, conduit cutting, sharp edges

Dust / debris — Drilling, coring, above-ceiling work

5.  Personal Protective Equipment (PPE)

All our personnel wear the following PPE at all times on site:

Hard hat (ANSI Z89.1)

Safety glasses (ANSI Z87.1)

High-visibility vest (ANSI Class 2 minimum)

Steel-toe or composite-toe boots (ASTM F2413)

Gloves appropriate to the task

Hearing protection when noise exceeds 85 dB

6.  Fall Protection

We use ladders inspected daily before each use; damaged ladders are removed from service immediately.

We use scissor lifts and boom lifts for work above 6 feet when ladders are not practical.

All lift operators hold current aerial lift training certification.

We tie off using personal fall arrest systems (PFAS) when working from boom lifts or unprotected edges above 6 feet.

We inspect all fall protection equipment before each use.

7.  Electrical Safety

We verify all circuits are de-energized before working in panels or junction boxes.

We use non-contact voltage testers before handling any conductor.

We follow lockout / tagout (LOTO) procedures when required.

We do not perform any work on energized circuits above 50V.

All our personnel hold OSHA 10-Hour Construction Safety certification; field supervisors hold OSHA 30-Hour.

8.  Fire Prevention

We keep all work areas free of combustible debris.

We maintain at least one ABC fire extinguisher within 50 feet of our work area.

We do not use open flame or hot work in our scope; if conditions change, we obtain a hot work permit from the GC.

We properly store and dispose of all packaging materials daily.

9.  Housekeeping

We clean our work areas at the end of each shift.

We remove all cable scraps, packaging, and debris daily.

We maintain clear egress paths at all times.

We secure all tools and materials at the end of each work day.

10.  Communication & Reporting

We attend all GC safety meetings and toolbox talks.

We report all incidents, near-misses, and unsafe conditions to the GC immediately.

We conduct our own daily safety briefing before starting work each morning.

We maintain an incident log on site and provide copies to the GC on request.

11.  Training

All our field personnel hold:

OSHA 10-Hour Construction Safety (minimum)

OSHA 30-Hour Construction Safety (field supervisors)

First Aid / CPR certification

Aerial lift operator training (when applicable)

GCC site-specific orientation (conducted before first day on site)

12.  Subcontractor Safety

If we engage any sub-labor on this project, they must:

Meet all screening requirements per our Background Check Compliance Letter.

Hold current OSHA 10-Hour certification.

Comply with this SSSP and all GC safety requirements.

Work under direct supervision of our field leadership.

Be covered under our insurance.

13.  Stop-Work Authority

Every member of our crew has the authority and obligation to stop work immediately if they observe an unsafe condition. No work resumes until the hazard is corrected. We do not retaliate against any worker who exercises stop-work authority.

Prepared by: GCC Estimating Department  ·  Contact: kaitlyn@greencommllc.com  ·  (636) 224-8192